## Sheet1
Date | Agglomeration Registration No. | Pumping Station | Start and Finish Times | How Long (hrs) | Date and time first noticed | Still Ongoing? Y/N | New or Reoccuring incident | Was there a weather warning in place by Met Eireann | Activity in Progress at Time of Incident | Incident nature | Is the incident located at a specific Licence discharge point | What Discharge Point | If not located at Licence Discharge point, describe location? | Receptor (where is the overflow going to) | Name of receiving waters | Details of any vulnerable receptors (if known) | Could this impact on Bathing Waters? | Incident Level | Failure Type | Failure description | Corrective Action Taken | Preventative actions to be taken | Likelihood of Recurrance | Evidence of Pollution | Condition of Effulent | Environmental Impact Ranking | Effect on the environment (Reference to be made to Ambient monitoring results and/or assimilative capacity of receiving waters. | Recorded By | Site Visit | Site Visit Report (and any other Info about the incident) | Anyone Notified of Incident? (eg, IW, IFI, FCC Pollution Dept, FCC Bathing Waters) (Name and Time) | Submitted to Eden / IW
2021-02-02 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 00.45-00.00 | 23hr 15min | 02/02 06.15 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | Site visit during working hours.
2021-02-02 | Ringsend__D0034_01 | Burrow Road | Cumulated hrs over a period of time | 5hr | 02/02 06.15 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | Site visit during working hours.
2021-02-14 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 12.20-15.30 | 3hr 10min | 14/02 12.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR