## Overflow Report 2022
Date | Agglomeration Registration No. | Pumping Station | Start and Finish Times | How Long (hrs) | Date and time first noticed | Still Ongoing? Y/N | New or Reoccuring incident | Was there a weather warning in place by Met Eireann | Activity in Progress at Time of Incident | Incident nature | Is the incident located at a specific Licence discharge point | What Discharge Point | If not located at Licence Discharge point, describe location? | Receptor (where is the overflow going to) | Name of receiving waters | Details of any vulnerable receptors (if known) | Could this impact on Bathing Waters? | Incident Level | Failure Type | Failure description | Corrective Action Taken | Preventative actions to be taken | Likelihood of Recurrance | Evidence of Pollution | Condition of Effulent | Environmental Impact Ranking | Effect on the environment (Reference to be made to Ambient monitoring results and/or assimilative capacity of receiving waters. | Recorded By | Site Visit | Site Visit Report (and any other Info about the incident) | Anyone Notified of Incident? (eg, IW, IFI, FCC Pollution Dept, FCC Bathing Waters) (Name and Time) | Submitted to Eden / IW
2022-02-05 | Ringsend__D0034_01 | Portmarnock Strand | 18.15 - 18.45 | 30mins | 5/2/22 - 19.00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-02-13 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 05.30-07.40 | 2hr 10min | 13/02/22 @05.30 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-13 | Ringsend__D0034_01 | Portmarnock Strand | 05.45-06.15 | 30 min | 13/02/22 @05.45 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-13 | Ringsend__D0034_01 | Santry | 05.30-07.15 | 1hr 45min | 13/02/22 @05.30 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-18 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 02.20-04.00 | 1hr 30min | 18/02/22 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-19 | Malahide__D0021_01 | Castleway/Connolly | 10.45-00.00 | 13hr 15min | 19/02 11.00 | yes | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-19 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 07.50-14.50 | 6hr | 19/02 08.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-19 | Ringsend__D0034_01 | Portmarnock Strand | 07.45-08.15 | 30min | 19/02 08.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-19 | Ringsend__D0034_01 | Santry | 07.45-09.00 | 1hr 15min | 19/02 08.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-19 | Ringsend__D0034_01 | Santry | 09.30-12.15 | 2hr 45min | 19/02 10.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Malahide__D0021_01 | Burrow Road | Cumulated hrs over a period of time | 9hrs | 21/02 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Malahide__D0021_01 | Castleway/Connolly | 00.01-00.00 | 24hr | 19/02 11.00 | yes | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Ringsend__D0034_01 | Santry | 11.45-23.15 | 11hr 30min | 20/02 12.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Ringsend__D0034_01 | Mayne Bridge | 16.45-19.15 | 2hr 30min | 20/02 17.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Ringsend__D0034_01 | Portmarnock Strand | 12.15-13.15 | 1hr | 20/02 13.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Ringsend__D0034_01 | Dubber (Meakstown) | 12.30-15.00 | 2hr 30min | 20/02 13.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 |  | Water | Ditch |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Malahide__D0021_01 | Kileen | 12.30-13.45 | 1hr 15min | 20/02 13.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | River Gaybrook | River Gaybrook | Water | River Gaybrook | SAC - Malahide Estuary | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-20 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 11.50-20.40 | 9hrs | 20/02 12.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-21 | Malahide__D0021_01 | Castleway/Connolly | 00.01-00.00 | 24hr | 19/02 11.00 | yes | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-02-22 | Malahide__D0021_01 | Castleway/Connolly | 00.01-23.30 | 23hr 30min | 19/02 11.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During normal working hours.
2022-03-10 | Ringsend__D0034_01 | Baldoyle Village | 13:15 - 22:15 | 9hrs | 9/3 19:00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Baldoyle Village P.S - SW26 |  | Water | Baldoyle Bay | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None, pumps running no prob, heavy rain. | None Taken | Low | TBC | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no | TBC | No
2022-03-12 | Ringsend__D0034_01 | Santry | 18.30-20-30 | 2hr | 12/03 19.00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-03-13 | Ringsend__D0034_01 | Santry | 00.45-02.45 | 2hr | 13/03 08.00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No |  | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-05-16 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 02.35-03.40 | 1hr 5min | 16/5 07.30 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-05-23 | Ringsend__D0034_01 | Manhole Surcharge | 14.30-11.30 | 21hrs | 23/5 14.30 | No | New | No | Normal Activities | Uncontrolled Release | No |  | Manhole on roadway near the coast. | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Blockage | Blocked Sewer | Jetter called to clear blockage and jet sewer. Wash and disinfectant will also be done where required. | Jetting of sewers to remove debris | Low | Gray water | raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | yes | Surcharge from manhole is minimum. Stone and debris removed from the connection point to mains sewer which was causing the blockage. | FCC and IW
2022-05-31 | Ringsend__D0034_01 | Portmarnock Strand | 16.47-17.16 | 29min | 01/06 07.20 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-06-28 | Ringsend__D0034_01 | Santry | 12.30-13.30 | 1hr | 28/06 16.45 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-06-29 | Ringsend__D0034_01 | Portmarnock Strand | 20.00-20.30 | 30min | 30/06 07.20 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours | FCC and IW
2022-06-23 | Ringsend__D0034_01 | Portmarnock Bridge | 10.00-10.30 | 30min | 23/06 10.15 | No | New | No | Normal Activities | Uncontrolled Release | Yes | Portmarnock Bridge PS - SW33 |  | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Emergency overflow caused by power failure | Both P1 & P2 remotely reset after phase failure | ME&I to check panel board | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-07-30 | Ringsend__D0034_01 | Portmarnock Strand | 08.58-09.58 | 1hr | 30/07 09.35 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Power | Emergency overflow caused by power failure | Monitored till Mains ESB was restored | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  |  | FCC. | Yes. Submitted 02/08/2022
2022-07-30 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 19.25-23.25 | 4hr | 30/07 20.00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-08-03 | Ringsend__D0034_01 | Network Overflow | 10:35-11:05 | 30min | 03/08/20 | No | New | No | Normal Activities | Uncontrolled Release | No |  |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor |  | Blocked Sewer | Jetter called to clear blockage and jet sewer. | CCTV Survey and follow up | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | Yes | Main sewer blockage adjoing SW chamber . Soaked through the adjoing wall, no solids, polluted water only | IW FCC
2022-09-03 | Ringsend__D0034_01 | Santry | 17.30-18.15 | 45mins | 17.45/03/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-03 | Ringsend__D0034_01 | Portmarnock Strand | 17.15-17.30 | 15min | 17.45/03/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Portmarnock Strand | 02.30-03.15 | 1hr 15min | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Portmarnock Strand | 04.00-05.30 | 1hr 30min | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Santry | 02.30-09.00 | 6hr 30min | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Blanchardstown | 02.45-05.45 | 3hr | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Blanchardstown P.S - SW52 |  | Water | Tolka river |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Dubber (Meakstown) | 02.45-06.45 | 4hr | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 |  | Ground | Land/ditch |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Ringsend__D0034_01 | Mayne Bridge | 05.00-08.15 | 3hr 15min | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-04 | Malahide__D0021_01 | Castleway/Connolly | 06.15-13.15 | 7hr | 08.00/04/09 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy |  | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-07 | Ringsend__D0034_01 | Santry | 02.00-06.00 | 4hr | 07/09-07.15 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-07 | Ringsend__D0034_01 | Santry | 09.00-12.30 | 3hr 30min | 07/09-13.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-07 | Ringsend__D0034_01 | Santry | 13.00-13.30 | 30min | 07/09-13.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-07 | Ringsend__D0034_01 | Network Overflow | 10.30-11.30 | 1hr | 07/09-10.30 | No | New | Yes | Normal Activities | Uncontrolled Release | No |  | Roadway beside Baldoyle Bay SPA & Baldoyle Bay SAC | Ground | Baldoyle Bay SITECODE 000199 | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | Private wwps in the area were switched off until a time the network caught up on itself | Jetting of sewer related to the overflow point. | High | Little | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-09-11 | Ringsend__D0034_01 | Santry | 12:45-15:00 | 2hr 15mins | 11/9-13:00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No | None | No
2022-09-11 | Ringsend__D0034_01 | Portmarnock Strand | 13:30-14:45 | 1hr 15min | 11/9- 14:00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No | None | No
2022-09-16 | Ringsend__D0034_01 | Mayne Bridge | 23:16- 00:00 | 45mins | 08.00/16/09 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Mechanical | Emergency overflow caused by pump failure | Building material caught in pump. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | AM | no | During working hours | No
2022-09-16 | Ringsend__D0034_01 | Mayne Bridge | 00:00- 9:15 | 9hrs 15mins | 08.00/16/09 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Mechanical | Emergency overflow caused by pump failure | Building material caught in pump. Noticed at 8:10am , crew on site and resolved issue by 9am. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | AM | no | During working hours | No
2022-09-22 | Ringsend__D0034_01 | Portmarnock Strand | 08.30-09.00 | 30min | 18.00/22/09 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-09-22 | Ringsend__D0034_01 | Santry | 08.45-10.45 | 2hr | 18.00/22/09 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | During working hours
2022-10-04 | Ringsend__D0034_01 | Mayne Bridge | 02.45-07.30 | 4hr 45min | 04/10 07.00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Mechanical | Emergency overflow caused by pump failure | Pumps manually reset | ME&I to check panel board | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. | DOR | yes | The discharge was diluted as it had been raining through the night. No sign of pollution. | ME&I
2022-10-19 | Ringsend__D0034_01 | Baldoyle Village | 08.30-09.45,13.45-15.15 | 1hr 45min | 09.00 20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Baldoyle Village P.S - SW26 |  | Water | Baldoyle Bay | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None, pumps running no prob, heavy rain. | None Taken | Low | TBC | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Malahide__D0021_01 | Castleway/Connolly | 15.30-00.00, 00.00 - 18.00 20/10/2022 | 26hrs 30mins | 09.00 20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | No | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | mm | no
2022-10-19 | Malahide__D0021_01 | Connolly Avenue | 14.15-15.00 | 45 mins | 09.00 20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | no | Unlicenced - Connelly Avenue, Kinsealy | Ditch to Sluice River | Water | Sluice River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | mm | no
2022-10-19 | Ringsend__D0034_01 | Dubber (Meakstown) | 14.00-16.15 | 2hr 15mins | 09.00 20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 |  | Ground | Ditch |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Ringsend__D0034_01 | Mayne Bridge | 14.15-19.30 | 5hrs 15m | 09.00, 20/10 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Ringsend__D0034_01 | Portmarnock Strand | 13.15-14.30 | 1hr 15min | 09.00, 20/10 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Ringsend__D0034_01 | Santry | 13.45-20.00,22.30-01.15 | 9hr | 09.00,20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | none Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Ringsend__D0034_01 | Sutton Park (Foul) | 13.30-14.45 | 1hr 45min | 09.00,20/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Sutton Park P.S - SW38 |  | Water |  |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM | no
2022-10-19 | Ringsend__D0034_01 | Burrow Road | Cumulated hrs over a period of time | 9hrs | 20/10/2022 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | MM
2022-11-01 | Ringsend__D0034_01 | Santry | 21.45 31/102022-03-30 01/11/2022 | 5hrs 45min | 31/10 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | AM | Yes | During Working hours
2022-11-13 | Ringsend__D0034_01 | Mayne Bridge | 18:00- 19:15 | 1hr 15min | 13/11 17.00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Emergency overflow caused by ragging or blocking | Called fitter to attend. | None Taken | Low | None | Settled | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DH | Yes | During normal working hours. | NO.
2022-11-16 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 00:33- 1:50 | 1hr 20min | 16/11/22 11:00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No |  | No
2022-11-21 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 06:00 - 13:00 | 7hrs | 21/11/22 09:00 | yes | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No |  | No
2022-11-21 | Ringsend__D0034_01 | Santry | 10:30 - 13:00 | 2.5hrs | 14.00/22/11 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No
2022-11-21 | Ringsend__D0034_01 | Portmarnock Strand | 10:30-11.30 | 1hr | 14.00/22/11 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No
2022-11-24 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 10:00 - 12:00 | 2hrs | 2022-12-26 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No |  | No
2022-12-23 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 09.30-13.30 | 4hrs | 23/12 09.55 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR
2022-12-24 | Ringsend__D0034_01 | Mayne Bridge | 17:10- 18:30 | 1h20m | 24/12 18:00 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no | None | no
2022-12-24 | Ringsend__D0034_01 | Portmarnock Strand | 18.15 - 18.45 | 30mins | 24/12 18:00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish Sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no | None | no
2022-12-24 | Ringsend__D0034_01 | Santry | 14:00 - 18:00 | 4h | 24/12 18:00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no | None | no
2022-12-24 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 14.10-14.35 | 30min | 28/12 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2022-12-24 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 16.15-18.15 | 2hrs | 28/12 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2022-12-24 | Ringsend__D0034_01 | Dubber (Meakstown) | 16.15-17.15 | 1hr | 28/12 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 |  | Water | Ditch |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Medium |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2022-12-25 | Ringsend__D0034_01 | Santry | 20:05 - 21:30 | 1h25m | 24/12 18:00 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | santry river | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no | None | no
2022-12-25 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 19.30-22.30 | 3hrs | 28/12 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth | Irish Sea | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no | Plant inspected on 27/12/2022 - all in order
2022-12-25 | Ringsend__D0034_01 | Dubber (Meakstown) | 20.15-21.15 | 1hr | 28/12 07.30 | No | Reoccuring | Yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 | Ditch | Water |  |  | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | Medium |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no | Plant inspected on 27/12/2022 - all in order
Note on R1: This question is asked in case IW need to notify LA, for health reasons
Note on W1: Michelle Mellett: i.e. Tankering etc
Note on AD1: Michelle Mellett: Yes or No
Note on AE1: Michelle Mellett: Enter in details of site visit: date, time, report on overflow, Photos etc.

## Do Not Edit (hidden)
Condidtion of Effluent | Failure Reason | Pumping Station
Raw | Adverse Weather | Network Overflow |  | Name | ID | Drawing No. | Agglomeration Area | Agglomeration Area | Failure
Diluted | Blocked Sewer | Abington FS (Private)
Settled | Broken Sewer Pipe | Admiral Park (Storm) |  | Balbriggan area |  | O/F-07-01- | [6 empty] | Receptor
| Dosing pump failure or maintenance at WWTP | Baldoyle Race Course ( PRIVATE ) | [5 empty] | Balbriggan/Skerries | Mechanical |  | Yes | High | Water
| Emergency overflow caused by power failure | Baldoyle Road | 1 | Quay Street | SW1 | O/F-07-01-01 | Balbriggan/Skerries | Ballyboughil | Power |  | No | Medium | Sewer
| Emergency overflow caused by pump failure | Baldoyle Village | 2 | Isaac's Bower | SW2 | O/F-07-01-03 | Balbriggan/Skerries | Colecott | Rainfall |  |  | Low | Ground
| Emergency overflow caused by ragging or blocking | Balgriffin | 3 | Hampton Cove | SW3 | O/F-07-01-04 | Balbriggan/Skerries | Garristown | Designed Overflow |  |  |  | Air
| Inadequate Operational Procedures/Training | Bayside | 4 | Craoibhin Close | SW4 | O/F-07-01-05 | Balbriggan/Skerries | Malahide |  |  |  |  | No Uncontrolled Release
| Leachate acceptance at WWTP | Beaverstown (Storm) | 5 | Balbriggan P.S | SW5 | O/F-07-01-06 | Balbriggan/Skerries | Naul |  |  | New
| Overdue Assessments/Reports | Beech House Clonsilla (Storm) | 6 | Balcsaddan P.S. | SW63 | O/F-07-01-07 | Balbriggan/Skerries | Oldtown |  |  | Reoccuring
| Plant or equipment breakdown at WWTP | Binn Eadair View | 7 | Dublin Road P.S. | SW64 | O/F-07-01-08 | Balbriggan/Skerries | Ringsend
| Plant or equipment calibration at WWTP | Blanchardstown | [5 empty] | Rush |  |  |  |  | Activity at Time of Incident
| Plant or equipment maintenance at WWTP | Brook Lane ( PRIVATE ) |  | Skerries area |  | O/F-07-02- |  | Donabate/Portrane | Explosion |  |  |  | Normal Activities
| Screen Maintenance Issue | Broomfield (Private) | [5 empty] | Swords | Fire |  |  |  | Routine Maintenance
| screen not operating | Burrow Road | 8 | Hoars Rock | SW6 | O/F-07-02-01 | Balbriggan/Skerries | Turvey | Spillage |  |  |  | Non Routine Maintenance / Upgrade works
| Shock load to the WWTP | Castlefield | 9 | Harbour Road | SW7 | O/F-07-02-02 | Balbriggan/Skerries |  | Odour |  |  |  | Leachate transfer to plant
| SWO design not meeting DoEHLG Criteria | Cloghran PS | 10 | Mourne View | SW8 | O/F-07-02-03 | Balbriggan/Skerries |  | Breach of ELV |  |  |  | Other
| SWO exceptional rainfall and overflow expected | Coldwinters | 11 | Kelly's Bay P.S | SW9 | O/F-07-02-04 | Balbriggan/Skerries |  | Monitoring Equipment offline
| SWO lack of tank storage capacity | Colecott PS | 12 | Darcystown | SW10 | O/F-07-02-05 | Balbriggan/Skerries |  | Trigger Level Reached
| Tank Overflow | Connolly Avenue | 13 | Shenick Island | SW11 | O/F-07-02-06 | Balbriggan/Skerries |  | Uncontrolled Release
| WWTP Biological sludge issue | Craig View | 14 | Rush Road P.S., Skerries | SW12 | O/F-07-02-07 | Balbriggan/Skerries |  | Breach of CoA discharge requirements
| WWTP not designed for N Removal | Darcystown | 15 | Barnageeragh WWTP | P3/Skerries | O/F-07-02-08 | Balbriggan/Skerries |  | Abatement equipment off-line
| WWTP not designed for P Removal | Deer Park (storm/overflow) | 16 | Loughshinney Septic Tank | S7/Skerries | O/F-07-02-09 | Balbriggan/Skerries |  | Specified % Reduction Value not achieved
| WWTP operating above capacity | Deer Park (foul overflow to storm) | 17 | Killalane Septic Tank | S11/Skerries | O/F-07-02-08 | Balbriggan/Skerries |  | Other
| WWTP upgrade required to meet ELV | Drinam
| Inadequate Infrastructure | Dr May's Portmarnock |  | Swords area | [6 empty] | Balbriggan__D0023_01
| Network infrastructure | Dubber (Meakstown) | [6 empty] | Ballyboghil | A0108-01 | Ballyboghil__A0108_01
| Other (Add details) | Elmgreen |  | Gartan Court P.S | SW13 | O/F-07-03-01 | Swords |  | Barnageeragh | (D0023-01) | Barnageeragh__D0023_01
|  | Floraville-Kinsealy |  | Lissenhall Bridge P.S | SW14 | O/F-07-03-02 | Swords |  | Colecot Cottages | A0107-01 | Colecot_Cottages__A0107_01
|  | Galtrim Grange |  | Drynam P.S | SW15 | O/F-07-03-03 | Swords |  | Garristown | A0110-01 | Garristown__A0110_01
|  | Garton Court |  | Melrose Drive P.S | SW16 | O/F-07-03-04 | Swords |  | Killalane Cottages | (D0023-01) | Killalane_Cottages__D0023_01
|  | Garristown WwTP |  | Forrest Road | SW17 | O/F-07-03-05 | Swords |  | Loughshinney | (D0023-01) | Loughshinney__D0023_01
|  | Glebe North ( PRIVATE ) |  | Rathbeale Rd. P.S | SW18 | O/F-07-03-06 | Swords |  | Lusk | D0122-01 | Lusk__D0122_01
|  | Hampton Cove DBO |  | Glasmore Park | SW19 | O/F-07-03-07 | Swords |  | Malahide | D0021-01 | Malahide__D0021_01
|  | Harbour Road Skerries |  | Bridge Street | SW20 | O/F-07-03-08 | Swords |  | Naul | A0103-01 | Naul__A0103_01
|  | Hollystown (Private) |  | Santry P.S | SW21 | O/F-07-03-09 | Ringsend |  | Newtown Cottages | A0104-01 | Newtown_Cottages__A0104_01
|  | Howth Car Park |  | Turnapin P.S | SW22 | O/F-07-03-10 | Ringsend |  | Oldtown | A0106-01 | Oldtown__A0106_01
|  | Inbhir Ide |  | Dubber Cross P.S | SW23 | O/F-07-03-11 | Ringsend |  | Portrane, Donabate, Rush and Lusk | D0114-01 | Portrane_Donabate__D0114_01
|  | Kellys Bay |  | Toberburr WWTW | S1/Swords | O/F-07-03-12 | Swords |  | Portrane, Donabate, Rush and Lusk | D0114-02 | Portrane_Donabate_Rush_Lusk__D0114_02
|  | Kileen |  | Swords WWTW | P1/Swords | O/F-07-03-13 | Swords |  | Rush | D0119-01 | Rush__D0119_01
|  | Kinsealy Storm |  | Swords WWTW | SW25 | O/F-07-03-13a | Swords |  | Swords | D0024-01 | Swords__D0024_01
|  | Knocksadan |  | Swords WWTW | Extents | O/F-07-03-13b | Swords |  | Turvey Cottages | A0102-01 | Turvey_Cottages__A0102_01
|  | Lissenhall Bridge |  | Swords WWTW | Site Notice | O/F-07-03-13c | Swords |  | Ringsend | D0034-01 | Ringsend__D0034_01
|  | Mayne Bridge |  | Cooldriona Court | SW24 | O/F-07-03-14 | Swords
|  | Melrose Drive (No 1) |  | Rowlstown Septic Tank | S6/Swords | O/F-07-03-15 | Swords
Melrose Park (No 2)
|  | Moyclare |  | Malahide/Portmarnock
|  | Mulberry (Private) | [6 empty] | Incident Level: |  | Vulnerable Receptors
|  | Mulhuddart SW |  | James Terrace, Malahide | S2/Malahide | O/F-07-04-01 | Malahide |  | 1. Minor |  | Fisheries Waters
|  | Old Rush Road PS |  | The Diamond, Malahide | S3/Malahide | O/F-07-04-02 | Malahide |  | 2. Limited |  | Bathing Waters
|  | Oldtown Moortown |  | Inbhir Ide P.S, Malahide | SW28 | O/F-07-04-03 | Malahide |  | 3. Serious |  | SAC - Malahide Estuary
|  | Orlynn Park |  | Connelly Avenue, Kinsealy | SW29 | O/F-07-04-04 | Malahide |  | 4. Very Serious |  | SAC - Rogerstown Estuary
|  | Portmarnock Bridge |  | Floraville | SW30 | O/F-07-04-05 | Malahide |  | 5. Catastrophic |  | SAC - Howth Head
|  | Portmarnock Strand |  | Killeen P.S | SW31 | O/F-07-04-06 | Malahide |  |  |  | SAC - Baldoyle Bay
|  | Portrane No 1 Donabate DBO |  | Portmarnock Strand P.S | SW32 | O/F-07-04-07 | Ringsend |  |  |  | Ballyboughal River
|  | Portrane No 2 Portrane Rd DBO |  | Portmarnock Bridge P.S | SW33 | O/F-07-04-08 | Ringsend |  |  |  | SAC - Matt River
|  | Portrane No 3 St Itas |  | Carrick Court | SW34 | O/F-07-04-09 | Ringsend |  |  |  | Dollymount (Dublin Bay)
|  | Portrane No 4 The Burrow |  | Mayne Bridge P.S | SW35 | O/F-07-04-10 | Ringsend
|  | Quay Street Balbriggan |  | Malahide WWTP | P2/Malahide | O/F-07-04-11 | Malahide
|  | Raheny Lane |  | Malahide WWTP | Site Notice | O/F-07-03-11a | Malahide
|  | Rathbeale Road |  | Malahide P.S | SW36 | O/F-07-04-12 | Malahide
|  | River Road |  | Galtrim Grange PS | SW74 |  | Malahide
|  | Riverwood |  | Abington PS (private) | SW75 |  | Malahide
|  | Rowlestown |  | Broomfield PS (private) | SW76 |  | Malahide
|  | Rush Road PS (Earthtech)dbo |  | Kinsealy Storm | SW ?? |  | Malahide
Rush Rogerstown
Rush Southshore
|  | Santry |  | Baldoyle/ Sutton/ Howth
Skerries Harbour
|  | Sutton Park (Foul) |  | Baldoyle Village P.S | SW26 | O/F-07-05-01 | Ringsend
|  | Sutton Park (Storm) |  | Baldoyle Road P.S | SW27 | O/F-07-05-02 | Ringsend
|  | Sutton Strand |  | Seagrange Park, Baldoyle | SW37 | O/F-07-05-03 | Ringsend
|  | The Forge |  | Sutton Park P.S | SW38 | O/F-07-05-04 | Ringsend
|  | The Kybe (Surface Water) |  | Alden Drive | SW39 | O/F-07-05-05 | Ringsend
|  | Turnapin Lane |  | Kilbarrack Road | SW40 | O/F-07-05-06 | Ringsend
|  | Whitestown DBO |  | Strand Road P.S, Sutton | SW41 | O/F-07-05-07 | Ringsend
|  | Mulhuddart Carpark at bridge |  | Old Quay, Strand Road | SW42 | O/F-07-05-08 | Ringsend
|  | Ballyboughal Treatment Plant |  | Superquinn Sutton Cross | SW43 | O/F-07-05-09 | Ringsend
|  | Naul Treatment Plant |  | Burrow Road P.S | SW44 | O/F-07-05-10 | Ringsend
|  | Toberburr Treatment Plant |  | Claremont P.S | SW45 | O/F-07-05-11 | Ringsend
|  | Oldtown Treatment Plant |  | Techrete Compound, Howth | SW46 | O/F-07-05-12 | Ringsend
|  | Rush New South Shore |  | Howth Road El Paso | SW47 | O/F-07-05-13 | Ringsend
|  | Rush Tower Bay |  | Howth Road / Abbey Street (A) | SW48 | O/F-07-05-14 | Ringsend
|  | Rush Golden Ridge |  | Church Street/Abbey Street (B) | SW49 | O/F-07-05-15 | Ringsend
|  | Manhole Surcharge |  | Doldrum Bay Howth | 54/ Howth | O/F-07-05-16 | Ringsend
|  |  |  | Howth Outfall | 55/Howth | O/F-07-05-17 | Ringsend
Blanchardstown Area
|  |  |  | Hollystown | SW50 | O/F-07-06-01 | Ringsend
|  |  |  | James Connolly Hospital | SW51 | O/F-07-06-02 | Ringsend
|  |  |  | Blanchardstown P.S | SW52 | O/F-07-06-03 | Ringsend
|  |  |  | River Road P.S | SW53 | O/F-07-06-04 | Ringsend
|  |  |  | Main Street, Blanchardstown | SW54 | O/F-07-06-05 | Ringsend
|  |  |  | Castleknock Village | SW55 | O/F-07-06-06 | Ringsend
|  |  |  | Castlethorn/ Riverwood Estate P.S | SW56 | O/F-07-06-07 | Ringsend
Rush Area
|  |  |  | Rush Foul Sewer Outfall | P4/Rush | O/F-07-07-01 | Rush
|  |  |  | Rush Foul Sewer Outfall Site Notice | Notice | O/F-07-07-01a | Rush
|  |  |  | South Shore Rush PS | SW57 | O/F-07-07-02 | Rush
|  |  |  | Rogerstown PS | SW58 | O/F-07-07-03 | Rush
|  |  |  | The Brook PS (private) | SW77 |  | Rush
Lusk Area
|  |  |  | Lusk Septic Tank Overflow | SW59 | O/F-07-07-04 | Rush
|  |  |  | Lusk Septic Tank Outfall | P5/Lusk | O/F-07-07-05 | Rush
|  |  |  | Lusk Septic Tank Site Notice | Notice | O/F-07-07-05a | Rush
Donabate Portrane Area
|  |  |  | Beaverstown Road, Donabate | SW60 | O/F-07-07-06 | Donabate
|  |  |  | Portrane No.2 PS | SW61 | O/F-07-07-07 | Donabate
|  |  |  | St Iats, Portrane PS | SW62 | O/F-07-07-08 | Donabate
|  |  |  | Portrane WWTP | P6/Donabate | O/F-07-07-09 | Donabate
|  |  |  | Portrane WWTP Extents | Extents | O/F-07-07-09a | Donabate
|  |  |  | Portrane WWTP Notice | Notice | O/F-07-07-09b | Donabate
|  |  |  | Whitestown PS | SW70
|  |  |  | New Portrane PS | SW71
|  |  |  | Portrane WWTP storm tank overflow | SW72
|  |  |  | New Donabate PS | SW73
|  |  |  | Balbriggan - Skerries Agglomeration Catchment Extents |  |  | CSO-07-01-01
|  |  |  | Swords Agglomeration Catchment Extents |  |  | CSO-07-01-02
|  |  |  | Ringsend Agglomeration Fingal Catchment Extents |  |  | CSO-07-01-04
|  |  |  | Malahide Agglomeration Catchment Extents |  |  | CSO-07-01-03
|  |  |  | Rush Agglomeration Catchment Extents |  |  | CSO-07-01-05
|  |  |  | Lusk-Agglomeration Catchment Extents |  |  | CSO-07-01-06
|  |  |  | Donabate Agglomeration Catchment Extents |  |  | CSO-07-01-07
Due to the brevity of the overflow, the dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal.
Due to the brevity of the overflow, the dilute nature of the discharge and the high assimilative capacity of the receiving environment the impact would have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.
Due to the brevity of the overflow, the dilute nature of the discharge and the high assimilative capacity of the receiving environment the impact would have been minimal. The assimilative capacity would also have been increased by the heavy infiltrarion in the foul sewer lines at this pumping station.
The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the thawing of heavy snowfall.
The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.

## Discharge Points (hidden)
Balbriggan__D0023_01 | Barnageeragh__D0023_01 | Killalane_Cottages__D0023_01 | Loughshinney__D0023_01 | Ballyboghil__A0108_01 | Colecot_Cottages__A0107_01 | Garristown__A0110_01 | Lusk__D0122_01 | Malahide__D0021_01 | Naul__A0103_01 | Newtown_Cottages__A0104_01 | Oldtown__A0106_01 | Portrane_Donabate__D0114_01 | Portrane_Donabate_Rush_Lusk__D0114_02 | Rush__D0119_01 | Swords__D0024_01 | Turvey_Cottages__A0102_01 | Ringsend__D0034_01
Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Ballyboghil SWT Primary Discharge point (SW01) | Colecot Cottages WwTP Primary Discharge Point | Garristown WwTP Primary Discharge | Lusk septic tank outfall P5/Lusk | Malahide WWTP Primary Discharge (P2) | Naul STW (P12) | P14/Newtown | Oldtown WwTP (P11 / Oldtown) (SW1) | Portrane WwTP (P6) | Unlicenced | Rush four Sewer Outfall - P4 Rush | Swords WwTP - P1/Swords | Turvey Ave (GW1) | Doldrum Bay Howth - S4/ Howth
Isaac's Bower - SW2 | Isaac's Bower - SW2 | Isaac's Bower - SW2 | Isaac's Bower - SW2 | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow | Unlicensed | Garristown WwTP Emergency Overflow (SW67) | Lusk septic tank overflow - SW59 | St James Terrace S2 | Naul STW Emergency Overflow (SW68) | Unlicensed | Oldtown WwTP Emergency overflow (SW2) | Beaverstown Road, Donabate SW60 |  | South Shore Rush PS (SW57) | Toberburr WwTP - S1/Swords | Unlicensed | Howth Outfall - S5/Howth
Hampton Cove - SW3 | Hampton Cove - SW3 | Hampton Cove - SW3 | Hampton Cove - SW3 | Unlicenced |  | Unlicensed | Unlicensed | The Diamond (foul sewer overflow) S3 | Unlicensed |  | Unlicenced | Portrane No2 PS - SW61 |  | Rush Tower Bay | ?? |  | Santry P.S - SW21
Craoibhin Close - SW4 | Craoibhin Close - SW4 | Craoibhin Close - SW4 | Craoibhin Close - SW4 |  |  |  |  | Floraville SW30 |  |  |  | St Ita's PS - SW62 |  | Unlicensed | Swords WwTP - SW25 |  | Turnapin P.S - SW22
Balbriggan PS - SW5 | Balbriggan PS - SW5 | Balbriggan PS - SW5 | Balbriggan PS - SW5 |  |  |  |  | SW35 |  |  |  | ?? |  |  | Lissenhall Bridge PS - SW14 |  | Dubber Cross P.S - SW23
Hoars Rock - SW6 | Hoars Rock - SW6 | Hoars Rock - SW6 | Hoars Rock - SW6 |  |  |  |  | Unlicensed |  |  |  | Unlicensed |  |  | Drynam PS - SW15 |  | Baldoyle Village P.S - SW26
Harbour Road - SW7 | Harbour Road - SW7 | Harbour Road - SW7 | Harbour Road - SW7 |  |  |  |  | Unlicenced - Inbhir Ide P.S, Malahide | [6 empty] | Melrose Drive PS |  | Baldoyle Road P.S - SW27
Mourne View - SW8 | Mourne View - SW8 | Mourne View - SW8 | Mourne View - SW8 |  |  |  |  | Unlicenced - Connelly Avenue, Kinsealy | [6 empty] | Forest Road - SW17 |  | Strand Road, Portmarnock - SW32
Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 |  |  |  |  | Unlicenced - Killeen P.S | [6 empty] | Rathbeale Road PS - SW18 |  | Portmarnock Bridge PS - SW33
Darcystown - SW10 | Darcystown - SW10 | Darcystown - SW10 | Darcystown - SW10 |  |  |  |  | Unlicenced - Galtrim Grange PS | [6 empty] | Glasmore Park - SW19 |  | Carrick Court - SW34
Shenick Island - SW11 | Shenick Island - SW11 | Shenick Island - SW11 | Shenick Island - SW11 |  |  |  |  | Unlicenced -Kinsealy Storm | [6 empty] | Bridge Street - SW20 |  | Mayne Bridge P.S - SW35
Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 |  |  |  |  | Unlicenced - Castlefield Manor | [6 empty] | Cooldriona Court - SW24 |  | Seagrange Park, Baldoyle - SW37
Quay Street - SW1 | Quay Street - SW1 | Quay Street - SW1 | Quay Street - SW1 | [11 empty] | Gartan court PS - SW13 |  | Sutton Park P.S - SW38
Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | [11 empty] | Unlicensed |  | Alden Drive - SW39
Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | [11 empty] | Lispopple - SW65 |  | Kilbarrack Road - SW40
Unlicensed | Unlicensed | Unlicensed | Unlicensed | [13 empty] | Strand Road P.S, Sutton - SW41
Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | [13 empty] | Old Quay, Strand Road - SW42
Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | [13 empty] | Superquinn Sutton Cross - SW43
Craoibhin Park | Craoibhin Park | Craoibhin Park | Craoibhin Park | [13 empty] | Burrow Road P.S - SW44
Unlicensed | Unlicensed | Unlicensed | Unlicensed | [13 empty] | Claremont P.S - SW45
Techrete Compound, Howth - SW46
Howth Road El Paso - SW47
Howth Road / Abbey Street (A) - SW48
Church Street/Abbey Street (B) - SW49
Hollystown - SW50
James Connolly Hospital - SW51
Blanchardstown P.S - SW52
River Road P.S - SW53
Main Street, Blanchardstown - SW54
Castleknock Village - SW55
Castlethorn/ Riverwood Estate P.S - SW56