## Overflow Report 2023
Date | Agglomeration Registration No. | Pumping Station | Start and Finish Times | How Long (hrs) | Date and time first noticed | Still Ongoing? Y/N | New or Reoccuring incident | Was there a weather warning in place by Met Eireann | Activity in Progress at Time of Incident | Incident nature | Is the incident located at a specific Licence discharge point | What Discharge Point | If not located at Licence Discharge point, describe location? | Receptor (where is the overflow going to) | Name of receiving waters | Details of any vulnerable receptors (if known) | Could this impact on Bathing Waters? | Incident Level | Failure Type | Failure description | Corrective Action Taken | Preventative actions to be taken | Likelihood of Recurrance | Evidence of Pollution | Condition of Effulent | Environmental Impact Ranking | Effect on the environment (Reference to be made to Ambient monitoring results and/or assimilative capacity of receiving waters. | Recorded By | Site Visit | Site Visit Report (and any other Info about the incident) | Anyone Notified of Incident? (eg, IW, IFI, FCC Pollution Dept, FCC Bathing Waters) (Name and Time) | Submitted to Eden / IW
2023-01-01 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 18.45-21.30 | 2hrs45min | 01/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-01-01 | Garristown__A0110_01 | Garristown WwTP | 09.00-13.00 | 4hrs | 01/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-01-02 | Garristown__A0110_01 | Garristown WwTP | 01.45-05.30 21.00-23.15 | 2hrs15m | 02/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-01-10 | Ringsend__D0034_01 | Portmarnock Strand | 5.14-5.45 | 30 m | 10/01 07.15 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | D MAGUIRE | No | Site visit juring normal working hours.
2023-01-10 | Ringsend__D0034_01 | Howth Car Park | 5.44-8.00 | 2hrs15m | 10/01/23 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | yes | Howth Outfall - S5/Howth |  | Water | irish sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | D MAGUIRE | NO | Site visit juring normal working hours.
2023-01-06 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 16.45-17.30 | 45min | 06/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-01-07 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 04.00-06.15 16.00-18.15 | 4hrs30min | 07/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-01-09 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 19.30-20.15 | 45min | 09/01 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-10 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 06.30-10.45 16.30-23.00 | 6hrs45min | 10/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-10 | Oldtown__A0106_01 | Oldtown Treatment Plant | 04.15-10.30 | 06hrs15min | 10/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-10 | Naul__A0103_01 | Naul Treatment Plant | 04.15-11.00 | 6hrs45min | 10/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC
2023-01-11 | Ringsend__D0034_01 | Santry | 16.15-16.45 | 30min | 10/01 - 16.20 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR |  | Site visit juring normal working hours.
2023-01-10 | Garristown__A0110_01 | Garristown WwTP | 15.00-19.45 | 4hrs45 | 10/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-11 | Garristown__A0110_01 | Garristown WwTP | 08.30-10.45 21.45-23.30 | 4hrs | 11/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-11 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 05.45-09.15 16.15-22.00 | 9hrs15min | 11/01 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-12 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 03.30-08.45 14.45-20.15 | 10hrs45min | 12/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-11 | Oldtown__A0106_01 | Oldtown Treatment Plant | 20.45-23.15 | 2hrs30min | 11/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-11 | Naul__A0103_01 | Naul Treatment Plant | 20.15-23.30 | 3hrs15min | 11/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-12 | Naul__A0103_01 | Naul Treatment Plant | 07.45-11.00 | 3hrs15min | 12/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-12 | Garristown__A0110_01 | Garristown WwTP | 10.15-14.00 | 3hrs45min | 2023-01-12 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-13 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 03.00-06.45 15.15-18.15 | 6hrs45min | 2023-01-13 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-13 | Garristown__A0110_01 | Garristown WwTP | 01.00-04.30 18.00-19.15 | 4hrs45min | 13/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-14 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 02.45-05.45 12.45-17.45 | 9hrs15min | 14/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes
2023-01-14 | Garristown__A0110_01 | Garristown WwTP | 07.45-10.00 22.45-00.00 | 3hrs30min | 14/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes
2023-01-15 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 02.45-04.30 14.30-16.15 | 3hrs30min | 15/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes
2023-01-15 | Garristown__A0110_01 | Garristown WwTP | 15.15-17.15 | 2hrs | 15/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes
2023-01-16 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 02.15-03.30 | 1hr15min | 16/01 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | Site visit juring normal working hours.
2023-01-25 | Naul__A0103_01 | Naul Treatment Plant | 15.30-18.00 | 2hrs30min | 26/01 | no | New | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Designed Overflow | Shock load to the WWTP | Survey carried out to identify the source. | None Taken | Low | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. | EC | no
2023-01-26 | Naul__A0103_01 | Naul Treatment Plant | 11.30-12.45 | 1hr15min | 26/01 | no | New | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Designed Overflow | Shock load to the WWTP | Survey carried out to identify the source. | None Taken | Low | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. | EC | Yes | Site visit juring normal working hours. No visible sign of pollution in the river.
2023-02-03 | Balbriggan__D0023_01 | Network Overflow | 20:30- 22:00 | 1.5hrs | 20:30 03/02/23 | n | New | no | Normal Activities | Uncontrolled Release | No | Unlicensed | Road gully to SO19647310 to sea | Water | Irish sea | Fisheries Waters | no | 1. Minor |  | Blocked Sewer | Jetter cleared blockage | Foul network will be cleaned and CCTV'd | Low | None | Raw | Low | MH cover restricted rags and material from leaving the network. Only liquid was seen on the footpath and roadway. | DMCG | Yes | OOH call out, main sewer choke. | No
2023-02-04 | Ringsend__D0034_01 | Network Overflow | 13:30- 15:00 | 1.5hrs | 13:30 04/02/23 | n | New | no | Normal Activities | Uncontrolled Release | No | Castleknock Village - SW55 | Road gully to SO08379302 to sea | Water | Royal Canal | Dollymount (Dublin Bay) | No | 1. Minor |  | Blocked Sewer | Jetter cleared blockage | Foul network will be cleaned and CCTV'd | Low | None | Raw | Low | MH cover restricted rags and material from leaving the network. Only liquid was seen on the footpath and roadway. | DMCG | Yes | OOH call out, main sewer choke. | No
2023-02-15 | Ringsend__D0034_01 | Santry | 23:45 - 00:00 | 15mins | 16/02/23 08:00 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. | DMG | no | Site visit juring normal working hours. No visible sign of pollution in the river. | No
2023-02-16 | Ringsend__D0034_01 | Santry | 00:00 - 00:45 | 45mins | 16/02/23 08:00 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. | DMG | no
2023-02-16 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 00:00 - 1:45 | 1hr 45min | 16/02/23 08:00 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMG | no
2023-02-20 | Portrane_Donabate__D0114_01 | Portrane No 3 St Itas | 22.30 -00.00 | 1 hr 30m | 20/2/2023 09.00 | No | New | No | Normal Activities | Uncontrolled Release | Yes | St Ita's PS - SW62 |  | Water | Irish sea | Bathing Waters | Yes | 1. Minor | Power | Emergency overflow caused by power failure | M E & I carried out investigations | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. Minimum flow, old buildings derelict now. Due to software/hardware issue resources. | Declan Maguire | No
2023-03-09 | Oldtown__A0106_01 | Oldtown Treatment Plant | 18.00-00.00 00.01-08.00 | 14hrs | 10/03 | n | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | No
2023-03-09 | Naul__A0103_01 | Naul Treatment Plant | 15.00-00.00 00.01-06.00 | 15hrs | 10/03 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | No
2023-03-10 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 02.30-07.15 | 4hrs45min | 10/03 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | No
2023-03-09 | Garristown__A0110_01 | Garristown WwTP | 20.45-00.00 00.01-01.15 | 4hrs30min | 10/03 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes |  |  |  | Delvin River | Fisheries Waters | no | 1.Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | No
2023-03-10 | Balbriggan__D0023_01 | Quay Street Balbriggan | 04.00 - 09.15 | 5hr 15mins | 10/03 | N | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Quay Street - SW1 |  | Water | Matt River | Fisheries Waters | Yes | 1 | Mechanical | Emergency overflow caused by pump failure | Pumps reset. | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | Yes | no evidence of pollution | IW 10/3/23 15.00
2023-03-09 | Barnageeragh__D0023_01 | Darcystown | 19.15-20.15 | 1hr | 09/03-19.30 | n | New | yes | Normal Activities | Uncontrolled Release | Yes | Darcystown - SW10 |  | Water | Ditch | Fisheries Waters | No | 1 | Power | Emergency overflow caused by power failure | pumps reset and regulator adjusted | None Taken | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-10 | Ringsend__D0034_01 | Mayne Bridge | 03.30-4.00 | 30mins | 10/3 | n | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Irish sea | SAC - Baldoyle Bay | No | 1 | Rainfall | Adverse Weather | None taken. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-09 | Ringsend__D0034_01 | Mayne Bridge | 23.30-00.00 | 30mins | 10/3 | n | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Irish sea | SAC - Baldoyle Bay | No | 1 | Rainfall | Adverse Weather | None taken. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-10 | Ringsend__D0034_01 | Mayne Bridge | 00.00-01.30 | 1hr 30mins | 10/3 | n | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Irish sea | SAC - Baldoyle Bay | No | 1 | Rainfall | Adverse Weather | None taken. | None Taken | Medium | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-10-09 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 17.00-00.00 | 7hrs (Foul) | 10/3 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-10 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 00.00-01.30 | 1.5hrs (foul) | 10/3 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-09 | Ringsend__D0034_01 | Santry | 14.45-16.00 | 1hr15mins | 10/3 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-09 | Ringsend__D0034_01 | Santry | 20.00-00.00 | 4hrs | 10/3 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-10 | Ringsend__D0034_01 | Santry | 00.00-04.00 | 4hrs | 10/3 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-10 | Ringsend__D0034_01 | Santry | 10.45-14.45 | 4hrs | 10/3 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no |  | IW 10/3/23 15.00
2023-03-11 | Ringsend__D0034_01 | Santry | 12.15-18.00 | 5hr 45min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-03-11 | Ringsend__D0034_01 | Portmarnock Strand | 12.15-13.00 | 45min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish sea | Bathing Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-03-11 | Ringsend__D0034_01 | Mayne Bridge | 14.30-15.45 | 1hr 15min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-03-11 | Ringsend__D0034_01 | Mayne Bridge | 20.45-22.30 | 1hr 45min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-03-11 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 12.20-18.05 | 5hr 45min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-03-10 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 11.00-18.45 | 7hrs45min | 10/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
11/02/2023 - 13/02/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 01-00-05.30 13.00-05.00 11.00-16.00 22.00-03.15 | 32hrs45min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-11 | Naul__A0103_01 | Naul Treatment Plant | 12.15-23.15 | 11hrs | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-03-13 | Naul__A0103_01 | Naul Treatment Plant | 04.45-08.45 | 4hrs | 13/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-11 | Oldtown__A0106_01 | Oldtown Treatment Plant | 12.15-21.15 | 9hrs | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-03-11 | Garristown__A0110_01 | Garristown WwTP | 20.15-23.30 | 3hrs15min | 11/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
13/03/2023 - 14/03/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 11-00-17.00 19.30-02.00 | 12hrs30min | 13/03 | no | reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | TLM | Yes | During normal hours
2023-03-14 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 09.00-14.00 20.15-00.15 | 9hrs00min | 14/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | TLM | Yes | During normal hours
2023-03-15 | Ringsend__D0034_01 | Santry | 17.45-18.45 | 1hr | 15/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no | During normal hours
2023-03-15 | Ringsend__D0034_01 | Deer Park (storm/overflow) | 18.00-19.30 | 1hr 30mins | 15/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no | During normal hours
14/03/2023 15/03/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 21.00-00.30 11.00-12.30 19.15-00.45 | 10hrs30min | 15/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-16 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 06.00- 11.30 17.30-22.45 | 5hrs30min 5hrs15min | 16/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-14 | Garristown__A0110_01 | Garristown WwTP | 00.00-03.45 | 3hrs45min |  | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-15 | Garristown__A0110_01 | Garristown WwTP | 20.45-00.00 | 3hrs15min |  | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-16 | Garristown__A0110_01 | Garristown WwTP | 07.30-12.45 | 5hrs15min | 16/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
16-17/03/2023 | Garristown__A0110_01 | Garristown WwTP | 22.00-03-45 | 4hrs45min | 17/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-03-17 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 08.15-10.45 17.30-21.00 | 6hrs | 17/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-03-20 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 10.15-11.45 22.45-00.00 | 2hrs45min | 20/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-21 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 12.45-13.45 | 1hr | 21/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-22 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 00.00- 01.15 | 1hr15min | 22/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal hours
2023-03-31 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 14.15-15.30 | 1hr15min | 31/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-01 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 00.01-03.15 09.45-00.00 | 17hrs15min | 01/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-02 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 00.01-03.00 08.00-13.00 20.00-00.00 | 12hrs | 02/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-03-31 | Oldtown__A0106_01 | Oldtown Treatment Plant | 19.30-21.00 | 1hr30min | 31/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-01 | Oldtown__A0106_01 | Oldtown Treatment Plant | 06.30-00.00 | 19hrs30min | 01/04 | yes | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-02 | Oldtown__A0106_01 | Oldtown Treatment Plant | 00.01-05.00 | 5hrs | 02/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-01 | Garristown__A0110_01 | Garristown WwTP | 00.01-07.00 13.15-19.45 | 13hrs30min | 01/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-02 | Garristown__A0110_01 | Garristown WwTP | 02.15-08.15 18.15-22.30 | 10hrs15min | 02/03 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | NO
2023-04-03 | Ringsend__D0034_01 | Santry PS | 17.30-23.30 | 6HRS | 01/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for PS to catch up with flow. | Part of UISCE EIREANN capital plans | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | AM | Yes
2023-04-04 | Ringsend__D0034_01 | Network Overflow | 14.45- 15.35 | 50mins | 04/04/2023 | N | Reoccuring | no | Normal Activities | Uncontrolled Release | No | Castleknock Village - SW55 | Road gully to SO08379302 to sea | Water | Royal Canal | Dollymount (Dublin Bay) | No | 1. Minor | Main Sewer blockage | Blocked Sewer | Jetter cleared blockage | Foul network will be cleaned and CCTV'd | Low | None | Raw | Low | MH cover restricted rags and material from leaving the network. Only liquid was seen on the footpath and roadway. | DMCG | Yes | OOH call out, main sewer choke. | No | 05/04/2023 GG
2023-04-05 | Ringsend__D0034_01 | Network Overflow | 13.45-18.30 | 4HR 30Mins | 05/04/2023 | N | Reoccuring | No | Normal Activities | Uncontrolled Release | No |  | Forrest trail to stream | Water | Liffy | Fisheries Waters | no | 1. Minor | Rainfall | Blocked Sewer | Jetter cleared blockage | Foul network will be cleaned and CCTV'd | Low | None | Diluted | Low | MH cover restricted rags and material from leaving the network. Only liquid was seen on the footpath and roadway. | DMAG | Yes | OOH call out, main sewer choke. | I.W And EPA notifed | 11/04/2023 GG
2023-04-05 | Garristown__A0110_01 | Garristown WwTP | 09.00-12.30 | 3hrs30min | 05/04 | NO | Reoccuring | no | Normal Activities | Uncontrolled Release | No | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal working hours
2023-04-11 | Garristown__A0110_01 | Garristown WwTP | 1800-21.30 | 3hrs30min | 11/04 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | No | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | TLM | Yes | During normal working hours
2023-04-12 | Garristown__A0110_01 | Garristown WwTP | 0300-09.30 | 6hrs30min | 12/04 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | No | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | TLM | Yes | During normal working hours
2023-04-11 | Naul__A0103_01 | Naul Treatment Plant | 17.30 -18.30 | 1hr | 11/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Naul STW Emergency Overflow (SW68) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | TLM | Yes | During normal working hours
2023-04-11 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 18.45 - 23.45 | 5hrs | 11/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.
2023-04-12 | Garristown__A0110_01 | Garristown WwTP | 20.45-23-30 | 2hrs45min | 12/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Garristown WwTP Emergency Overflow (SW67) |  | Water | Delvin River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-12 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 05.15 - 09.30 | 4hrs15min | 12/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.
2023-04-12 | Ringsend__D0034_01 | Portmarnock Strand | 18.00-19.00 | 1hr | 12/4/23 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish sea | Bathing Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | No
2023-04-12 | Portrane_Donabate_Rush_Lusk__D0114_02 | Rush Tower Bay | 18.15-19.15 | 1hr | 12/4/23 | No | Reoccuring | No | Normal Activities | Uncontrolled Release | No | Unlicenced | Irish Sea | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | NO | During normal working hours.
2023-04-12 | Ringsend__D0034_01 | Santry | 18.15-19.30 | 1hr15mins | 12/4/23 | n | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | NO
2023-04-12 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 18.00-21.00 | 3hrs | 12/4/23 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no
2023-04-12 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 12.00-14.00 | 2hrs | 13/4/23 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DMCG | no
2023-04-12 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 16.45-21.00 | 4hr15min | 12/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-13 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 05.45-07.30 16.15-18.45 | 4hrs15min | 13/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-16 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 08.00-09.45 19.15-21.15 | 3hrs45min | 16/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-20 | Portrane_Donabate_Rush_Lusk__D0114_02 | Rush New South Shore | 18.30-21.15 | 2hr 45min | 20/04 @19.45 | no | New | no | Normal Activities | Uncontrolled Release | No | Unlicenced | Irish Sea | Water | Irish sea | Bathing Waters | No | 1. Minor | Power | Emergency overflow caused by power failure | Fitter was called to correct fault | Monitoring of the dry run float that caused pumps not to run. | Low | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | yes | No evidence of pollution. | On call manager and drainage supervisor.
2023-04-22 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 18.15-19.00 | 45min | 22/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-22 | Ringsend__D0034_01 | Santry | 13.30-14.30 | 1hr | 22/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-04-23 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 01.45-06.15 15.15-18.15 | 7hrs30mins | 23/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-24 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 04.00-05-00 | 1hr | 24/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-24 | Ringsend__D0034_01 | Santry | 06.45-08.15 | 1hr 30mins | 24/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | Water | Santry River | Dollymount (Dublin Bay) | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High |  | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | DOR | no
2023-04-24 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 11.15-16.45 | 5hrs30min | 24/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | River level high, fast flowing and discoloured due to the run off of the surrounding lands.
24&25/04/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 23.00-03.45 | 4hrs45min | 25/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | River level high, fast flowing and discoloured due to the run off of the surrounding lands.
2023-04-25 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 10.45-15.15 | 4hrs30min | 25/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
25&26/04/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 23-00-02.00 | 3hrs | 26/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-26 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 12.00-14.00 | 2Hrs | 26/04 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
26&27/04/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 23.00-01.15 | 2hrs15min | 27/04 | no | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-04-30 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 17.15-19.00 | 1Hr45min | 01/05 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-01 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 17.15-18.45 | ihr30min | 02/05 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughal River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Raw | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-08 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 00.50-05.50 | 5hrs | 8/5/23 | No | Reoccuring | no | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish Sea | Fisheries Waters | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWPS to catch up with flow. | None Taken | High | None | Raw | Low | The Dilute Nature of the discharge and the very high assimalivate capacity of the receiving enviroment the impact should have been minimal, the assimilative capacity would also have been increased by the heavy rainfall | DMCG | no
2023-05-09 | Ringsend__D0034_01 | Deer Park (foul overflow to storm) | 19.45-21.45 | 2Hrs | 9/05/23 | No | Reoccuring | YES | Normal Activities | Uncontrolled Release | Yes | Howth Outfall - S5/Howth |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | NO
2023-05-09 | Ringsend__D0034_01 | Baldoyle Road | 19.45-20.45 | 1HR | 9/05/23 | No | Reoccuring | YES | Normal Activities | Uncontrolled Release | Yes | Baldoyle Road P.S - SW27 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | no
2023-05-09 | Ringsend__D0034_01 | Binn Eadiar | 19.45-20.15 | 45Mins | 09/05/23 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Sutton Park P.S - SW38 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | no
2023-05-09 | Ringsend__D0034_01 | Blanchardstown | 19.00-19.30 | 30mins | 09/05/23 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Blanchardstown P.S - SW52 |  | water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | no
2023-05-09 | Ringsend__D0034_01 | Dubber (Meakstown) | 19.00-21.30 | 1.5HRS | 09/05/23 | NO | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Dubber Cross P.S - SW23 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | no
2023-05-09 | Swords__D0024_01 | Lissenhall Bridge | 19.45-20.15 | 30 MINS | 09/05/23 | N0 | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | ?? |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | NO
2023-05-09 | Ringsend__D0034_01 | Mayne Bridge | 22.30-23.30 | 1HR | 09/05/2023 | N0 | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | no
2023-05-09 | Ringsend__D0034_01 | Portmarnock Strand | 19.30-21.00 | 1.5HRS | 09/05/2023 | N0 | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Strand Road, Portmarnock - SW32 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | LOW | AS ABOVE | DH | NO
2023-05-09 | Ringsend__D0034_01 | Santry | 19.15-00.00 | 3.5HRS | 09/05/2023 | NO | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Santry P.S - SW21 |  | WATER | Santry River | Dollymount (Dublin Bay) | NO | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | NO
2023-05-09 | Ringsend__D0034_01 | Sutton Park (Foul) | 19.45-20.45 | 1.5hrs | 09/05/2023 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Sutton Park P.S - SW38 |  | Water | Irish sea | Fisheries Waters | no | 1. Minor | Rainfall | Adverse Weather | None Taken, Due to thunder storm of heavy rainfall | None Taken | High | None | Diluted | Low | AS ABOVE | DH | NO
2023-05-09 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 15.45-18.00 | 2hrs15min | 09/05 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | Yes | During normal working hours
2023-05-10 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 02.15-05.00 15.00-16.45 | 4hrs30min | 10/05 | n | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-11 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 15.00-18.15 | 3hrs15min | 11/05 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
11&12/05/2023 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 22.15-04-15 | 6hrs | 12/05 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-11 | Oldtown__A0106_01 | Oldtown Treatment Plant | 14.00-17.15 | 3hrs15min | 11/05 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Oldtown WwTP Emergency overflow (SW2) |  | Water | Ballyboughil River | Ballyboughal River | no | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-12 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 12.30-15.30 | 3hr | 12/05 | no | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-13 | Ballyboghil__A0108_01 | Ballyboughal Treatment Plant | 01.30-03.00 14.45-16.15 | 3HRS | 13/05 | NO | Reoccuring | yes | Normal Activities | Uncontrolled Release | Yes | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow |  | Water | Ballyboughil River | Ballyboughal River | No | 1. Minor | Rainfall | Adverse Weather | None taken problem with infiltration. Time needed for WWTP to catch up with flow. | None Taken | High | None | Diluted | Low | The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall. | EC | no
2023-05-16 | Ringsend__D0034_01 | Network Overflow | 19.00-20.00 | 1hr | 16/5/23 | no | New | no | Normal Activities | Other | No | Santry P.S - SW21 | Road gully | Water | Santry River | Dollymount (Dublin Bay) | No | 1. Minor | network overflow | Broken Sewer Pipe | Repair main sewer rising main | repair pipe | Low | None | Raw | Low | The small amount in the SW gully would have low impact | DMCG | Yes | FCC crews on site last night removing waste from WWPS to try prevent overflow. Crew on site this morning to repair network. | IW , FCC, Bathing waters. 16/5/23 22.00 | 17/05/23 GG
2023-05-16 | Ringsend__D0034_01 | Santry | 21.00-00.00 | 3hrs | 16/5/23 | yes | Reoccuring | no | Normal Activities | Other | Yes | Santry P.S - SW21 |  | WATER | Santry River | Dollymount (Dublin Bay) | NO | 1. Minor | Designed Overflow | Broken Sewer Pipe | Repair main sewer rising main | repair pipe | Low | overflow seen in river | Settled | Low | TBC - unknown at this moment. | DMCG | Yes | FCC crews on site last night removing waste from WWPS to try prevent overflow. Crew on site this morning to repair network. | IW , FCC, Bathing waters. 17/5/23 10.00 | 17/05/23 GG
2023-05-17 | Ringsend__D0034_01 | Santry | 00.00-15.45 | 15hrs 45min | 16/5/23 | N | Reoccuring | no | Normal Activities | Other | Yes | Santry P.S - SW21 |  | WATER | Santry River | Dollymount (Dublin Bay) | NO | 2. Limited | Designed Overflow | Broken Sewer Pipe | Repair main sewer rising main | repair pipe | Low | overflow seen in river | Settled | Medium | TBC - unknown at this moment. | DMCG | Yes | FCC crews on site last night removing waste from WWPS to try prevent overflow. Crew on site this morning to repair network. Repaired at 15:30 by FCC | IW , FCC, Bathing waters. 17/5/23 10.00 | 17/05/23 GG
2023-05-28 | Ringsend__D0034_01 | Mayne Bridge | 03.30-09.30 | 6Hrs | 28/05/2023 | N | Reoccuring | no | Normal Activities | Other | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | no | 1. Minor | Mechanical | Emergency overflow caused by pump failure | electrican called to site |  | Medium | overflow seen in river | Raw | Low | Minor effect on enviorment | DH | YES | Fcc Crews On site | IW, FCC, Bathing Waters 28/5/2023 | 29/05/23 GG
2023-05-29 | Ringsend__D0034_01 | Mayne Bridge | 02.00-08.45 | 6Hrs 15Mins | 29/05/2023 | N | Reoccuring | no | Normal Activities | Other | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | no | 1. Minor | Mechanical | Emergency overflow caused by pump failure | electrican called to site |  | Medium | overflow seen in river | Raw | Low | Minor effect on enviorment | DH | Yes | FCC Crews On Site | IW,FCC,Bathing waters 29/5/2023 | 29/05/23 GG
2023-05-30 | Ringsend__D0034_01 | Mayne Bridge | 02.15-09.15 | 7Hrs | 30/05/2023 | N | Reoccuring | no | Normal Activities | Other | Yes | Mayne Bridge P.S - SW35 |  | Water | Mayne River | SAC - Baldoyle Bay | No | 1. Minor | Mechanical | Emergency overflow caused by pump failure | electrican called to site |  | Medium | overflow seen in river | Raw | Low | Minor Effect On Enviorment | DMG | Yes | FCC CREWS ON SITE | IW,FCC,Bathing waters 30/05/2023
Note on R1: This question is asked in case IW need to notify LA, for health reasons
Note on W1: Michelle Mellett: i.e. Tankering etc
Note on AD1: Michelle Mellett: Yes or No
Note on AE1: Michelle Mellett: Enter in details of site visit: date, time, report on overflow, Photos etc.

## Do Not Edit (hidden)
Condidtion of Effluent | Failure Reason | Pumping Station
Raw | Adverse Weather | Network Overflow |  | Name | ID | Drawing No. | Agglomeration Area | Agglomeration Area | Failure
Diluted | Blocked Sewer | Abington FS (Private)
Settled | Broken Sewer Pipe | Admiral Park (Storm) |  | Balbriggan area |  | O/F-07-01- | [6 empty] | Receptor
| Dosing pump failure or maintenance at WWTP | Baldoyle Race Course ( PRIVATE ) | [5 empty] | Balbriggan/Skerries | Mechanical |  | Yes | High | Water
| Emergency overflow caused by power failure | Baldoyle Road | 1 | Quay Street | SW1 | O/F-07-01-01 | Balbriggan/Skerries | Ballyboughil | Power |  | No | Medium | Sewer
| Emergency overflow caused by pump failure | Baldoyle Village | 2 | Isaac's Bower | SW2 | O/F-07-01-03 | Balbriggan/Skerries | Colecott | Rainfall |  |  | Low | Ground
| Emergency overflow caused by ragging or blocking | Balgriffin | 3 | Hampton Cove | SW3 | O/F-07-01-04 | Balbriggan/Skerries | Garristown | Designed Overflow |  |  |  | Air
| Inadequate Operational Procedures/Training | Bayside | 4 | Craoibhin Close | SW4 | O/F-07-01-05 | Balbriggan/Skerries | Malahide |  |  |  |  | No Uncontrolled Release
| Leachate acceptance at WWTP | Beaverstown (Storm) | 5 | Balbriggan P.S | SW5 | O/F-07-01-06 | Balbriggan/Skerries | Naul |  |  | New
| Overdue Assessments/Reports | Beech House Clonsilla (Storm) | 6 | Balcsaddan P.S. | SW63 | O/F-07-01-07 | Balbriggan/Skerries | Oldtown |  |  | Reoccuring
| Plant or equipment breakdown at WWTP | Binn Eadair View | 7 | Dublin Road P.S. | SW64 | O/F-07-01-08 | Balbriggan/Skerries | Ringsend
| Plant or equipment calibration at WWTP | Blanchardstown | [5 empty] | Rush |  |  |  |  | Activity at Time of Incident
| Plant or equipment maintenance at WWTP | Brook Lane ( PRIVATE ) |  | Skerries area |  | O/F-07-02- |  | Donabate/Portrane | Explosion |  |  |  | Normal Activities
| Screen Maintenance Issue | Broomfield (Private) | [5 empty] | Swords | Fire |  |  |  | Routine Maintenance
| screen not operating | Burrow Road | 8 | Hoars Rock | SW6 | O/F-07-02-01 | Balbriggan/Skerries | Turvey | Spillage |  |  |  | Non Routine Maintenance / Upgrade works
| Shock load to the WWTP | Castlefield | 9 | Harbour Road | SW7 | O/F-07-02-02 | Balbriggan/Skerries |  | Odour |  |  |  | Leachate transfer to plant
| SWO design not meeting DoEHLG Criteria | Cloghran PS | 10 | Mourne View | SW8 | O/F-07-02-03 | Balbriggan/Skerries |  | Breach of ELV |  |  |  | Other
| SWO exceptional rainfall and overflow expected | Coldwinters | 11 | Kelly's Bay P.S | SW9 | O/F-07-02-04 | Balbriggan/Skerries |  | Monitoring Equipment offline
| SWO lack of tank storage capacity | Colecott PS | 12 | Darcystown | SW10 | O/F-07-02-05 | Balbriggan/Skerries |  | Trigger Level Reached
| Tank Overflow | Connolly Avenue | 13 | Shenick Island | SW11 | O/F-07-02-06 | Balbriggan/Skerries |  | Uncontrolled Release
| WWTP Biological sludge issue | Craig View | 14 | Rush Road P.S., Skerries | SW12 | O/F-07-02-07 | Balbriggan/Skerries |  | Breach of CoA discharge requirements
| WWTP not designed for N Removal | Darcystown | 15 | Barnageeragh WWTP | P3/Skerries | O/F-07-02-08 | Balbriggan/Skerries |  | Abatement equipment off-line
| WWTP not designed for P Removal | Deer Park (storm/overflow) | 16 | Loughshinney Septic Tank | S7/Skerries | O/F-07-02-09 | Balbriggan/Skerries |  | Specified % Reduction Value not achieved
| WWTP operating above capacity | Deer Park (foul overflow to storm) | 17 | Killalane Septic Tank | S11/Skerries | O/F-07-02-08 | Balbriggan/Skerries |  | Other
| WWTP upgrade required to meet ELV | Drinam
| Inadequate Infrastructure | Dr May's Portmarnock |  | Swords area | [6 empty] | Balbriggan__D0023_01
| Network infrastructure | Dubber (Meakstown) | [6 empty] | Ballyboghil | A0108-01 | Ballyboghil__A0108_01
| Other (Add details) | Elmgreen |  | Gartan Court P.S | SW13 | O/F-07-03-01 | Swords |  | Barnageeragh | (D0023-01) | Barnageeragh__D0023_01
|  | Floraville-Kinsealy |  | Lissenhall Bridge P.S | SW14 | O/F-07-03-02 | Swords |  | Colecot Cottages | A0107-01 | Colecot_Cottages__A0107_01
|  | Galtrim Grange |  | Drynam P.S | SW15 | O/F-07-03-03 | Swords |  | Garristown | A0110-01 | Garristown__A0110_01
|  | Garton Court |  | Melrose Drive P.S | SW16 | O/F-07-03-04 | Swords |  | Killalane Cottages | (D0023-01) | Killalane_Cottages__D0023_01
|  | Garristown WwTP |  | Forrest Road | SW17 | O/F-07-03-05 | Swords |  | Loughshinney | (D0023-01) | Loughshinney__D0023_01
|  | Glebe North ( PRIVATE ) |  | Rathbeale Rd. P.S | SW18 | O/F-07-03-06 | Swords |  | Lusk | D0122-01 | Lusk__D0122_01
|  | Hampton Cove DBO |  | Glasmore Park | SW19 | O/F-07-03-07 | Swords |  | Malahide | D0021-01 | Malahide__D0021_01
|  | Harbour Road Skerries |  | Bridge Street | SW20 | O/F-07-03-08 | Swords |  | Naul | A0103-01 | Naul__A0103_01
|  | Hollystown (Private) |  | Santry P.S | SW21 | O/F-07-03-09 | Ringsend |  | Newtown Cottages | A0104-01 | Newtown_Cottages__A0104_01
|  | Howth Car Park |  | Turnapin P.S | SW22 | O/F-07-03-10 | Ringsend |  | Oldtown | A0106-01 | Oldtown__A0106_01
|  | Inbhir Ide |  | Dubber Cross P.S | SW23 | O/F-07-03-11 | Ringsend |  | Portrane, Donabate, Rush and Lusk | D0114-01 | Portrane_Donabate__D0114_01
|  | Kellys Bay |  | Toberburr WWTW | S1/Swords | O/F-07-03-12 | Swords |  | Portrane, Donabate, Rush and Lusk | D0114-02 | Portrane_Donabate_Rush_Lusk__D0114_02
|  | Kileen |  | Swords WWTW | P1/Swords | O/F-07-03-13 | Swords |  | Rush | D0119-01 | Rush__D0119_01
|  | Kinsealy Storm |  | Swords WWTW | SW25 | O/F-07-03-13a | Swords |  | Swords | D0024-01 | Swords__D0024_01
|  | Knocksadan |  | Swords WWTW | Extents | O/F-07-03-13b | Swords |  | Turvey Cottages | A0102-01 | Turvey_Cottages__A0102_01
|  | Lissenhall Bridge |  | Swords WWTW | Site Notice | O/F-07-03-13c | Swords |  | Ringsend | D0034-01 | Ringsend__D0034_01
|  | Mayne Bridge |  | Cooldriona Court | SW24 | O/F-07-03-14 | Swords
|  | Melrose Drive (No 1) |  | Rowlstown Septic Tank | S6/Swords | O/F-07-03-15 | Swords
Melrose Park (No 2)
|  | Moyclare |  | Malahide/Portmarnock
|  | Mulberry (Private) | [6 empty] | Incident Level: |  | Vulnerable Receptors
|  | Mulhuddart SW |  | James Terrace, Malahide | S2/Malahide | O/F-07-04-01 | Malahide |  | 1. Minor |  | Fisheries Waters
|  | Old Rush Road PS |  | The Diamond, Malahide | S3/Malahide | O/F-07-04-02 | Malahide |  | 2. Limited |  | Bathing Waters
|  | Oldtown Moortown |  | Inbhir Ide P.S, Malahide | SW28 | O/F-07-04-03 | Malahide |  | 3. Serious |  | SAC - Malahide Estuary
|  | Orlynn Park |  | Connelly Avenue, Kinsealy | SW29 | O/F-07-04-04 | Malahide |  | 4. Very Serious |  | SAC - Rogerstown Estuary
|  | Portmarnock Bridge |  | Floraville | SW30 | O/F-07-04-05 | Malahide |  | 5. Catastrophic |  | SAC - Howth Head
|  | Portmarnock Strand |  | Killeen P.S | SW31 | O/F-07-04-06 | Malahide |  |  |  | SAC - Baldoyle Bay
|  | Portrane No 1 Donabate DBO |  | Portmarnock Strand P.S | SW32 | O/F-07-04-07 | Ringsend |  |  |  | Ballyboughal River
|  | Portrane No 2 Portrane Rd DBO |  | Portmarnock Bridge P.S | SW33 | O/F-07-04-08 | Ringsend |  |  |  | SAC - Matt River
|  | Portrane No 3 St Itas |  | Carrick Court | SW34 | O/F-07-04-09 | Ringsend |  |  |  | Dollymount (Dublin Bay)
|  | Portrane No 4 The Burrow |  | Mayne Bridge P.S | SW35 | O/F-07-04-10 | Ringsend
|  | Quay Street Balbriggan |  | Malahide WWTP | P2/Malahide | O/F-07-04-11 | Malahide
|  | Raheny Lane |  | Malahide WWTP | Site Notice | O/F-07-03-11a | Malahide
|  | Rathbeale Road |  | Malahide P.S | SW36 | O/F-07-04-12 | Malahide
|  | River Road |  | Galtrim Grange PS | SW74 |  | Malahide
|  | Riverwood |  | Abington PS (private) | SW75 |  | Malahide
|  | Rowlestown |  | Broomfield PS (private) | SW76 |  | Malahide
|  | Rush Road PS (Earthtech)dbo |  | Kinsealy Storm | SW ?? |  | Malahide
Rush Rogerstown
Rush Southshore
|  | Santry |  | Baldoyle/ Sutton/ Howth
Skerries Harbour
|  | Sutton Park (Foul) |  | Baldoyle Village P.S | SW26 | O/F-07-05-01 | Ringsend
|  | Sutton Park (Storm) |  | Baldoyle Road P.S | SW27 | O/F-07-05-02 | Ringsend
|  | Sutton Strand |  | Seagrange Park, Baldoyle | SW37 | O/F-07-05-03 | Ringsend
|  | The Forge |  | Sutton Park P.S | SW38 | O/F-07-05-04 | Ringsend
|  | The Kybe (Surface Water) |  | Alden Drive | SW39 | O/F-07-05-05 | Ringsend
|  | Turnapin Lane |  | Kilbarrack Road | SW40 | O/F-07-05-06 | Ringsend
|  | Whitestown DBO |  | Strand Road P.S, Sutton | SW41 | O/F-07-05-07 | Ringsend
|  | Mulhuddart Carpark at bridge |  | Old Quay, Strand Road | SW42 | O/F-07-05-08 | Ringsend
|  | Ballyboughal Treatment Plant |  | Superquinn Sutton Cross | SW43 | O/F-07-05-09 | Ringsend
|  | Naul Treatment Plant |  | Burrow Road P.S | SW44 | O/F-07-05-10 | Ringsend
|  | Toberburr Treatment Plant |  | Claremont P.S | SW45 | O/F-07-05-11 | Ringsend
|  | Oldtown Treatment Plant |  | Techrete Compound, Howth | SW46 | O/F-07-05-12 | Ringsend
|  | Rush New South Shore |  | Howth Road El Paso | SW47 | O/F-07-05-13 | Ringsend
|  | Rush Tower Bay |  | Howth Road / Abbey Street (A) | SW48 | O/F-07-05-14 | Ringsend
|  | Rush Golden Ridge |  | Church Street/Abbey Street (B) | SW49 | O/F-07-05-15 | Ringsend
|  | Manhole Surcharge |  | Doldrum Bay Howth | 54/ Howth | O/F-07-05-16 | Ringsend
|  |  |  | Howth Outfall | 55/Howth | O/F-07-05-17 | Ringsend
Blanchardstown Area
|  |  |  | Hollystown | SW50 | O/F-07-06-01 | Ringsend
|  |  |  | James Connolly Hospital | SW51 | O/F-07-06-02 | Ringsend
|  |  |  | Blanchardstown P.S | SW52 | O/F-07-06-03 | Ringsend
|  |  |  | River Road P.S | SW53 | O/F-07-06-04 | Ringsend
|  |  |  | Main Street, Blanchardstown | SW54 | O/F-07-06-05 | Ringsend
|  |  |  | Castleknock Village | SW55 | O/F-07-06-06 | Ringsend
|  |  |  | Castlethorn/ Riverwood Estate P.S | SW56 | O/F-07-06-07 | Ringsend
Rush Area
|  |  |  | Rush Foul Sewer Outfall | P4/Rush | O/F-07-07-01 | Rush
|  |  |  | Rush Foul Sewer Outfall Site Notice | Notice | O/F-07-07-01a | Rush
|  |  |  | South Shore Rush PS | SW57 | O/F-07-07-02 | Rush
|  |  |  | Rogerstown PS | SW58 | O/F-07-07-03 | Rush
|  |  |  | The Brook PS (private) | SW77 |  | Rush
Lusk Area
|  |  |  | Lusk Septic Tank Overflow | SW59 | O/F-07-07-04 | Rush
|  |  |  | Lusk Septic Tank Outfall | P5/Lusk | O/F-07-07-05 | Rush
|  |  |  | Lusk Septic Tank Site Notice | Notice | O/F-07-07-05a | Rush
Donabate Portrane Area
|  |  |  | Beaverstown Road, Donabate | SW60 | O/F-07-07-06 | Donabate
|  |  |  | Portrane No.2 PS | SW61 | O/F-07-07-07 | Donabate
|  |  |  | St Iats, Portrane PS | SW62 | O/F-07-07-08 | Donabate
|  |  |  | Portrane WWTP | P6/Donabate | O/F-07-07-09 | Donabate
|  |  |  | Portrane WWTP Extents | Extents | O/F-07-07-09a | Donabate
|  |  |  | Portrane WWTP Notice | Notice | O/F-07-07-09b | Donabate
|  |  |  | Whitestown PS | SW70
|  |  |  | New Portrane PS | SW71
|  |  |  | Portrane WWTP storm tank overflow | SW72
|  |  |  | New Donabate PS | SW73
|  |  |  | Balbriggan - Skerries Agglomeration Catchment Extents |  |  | CSO-07-01-01
|  |  |  | Swords Agglomeration Catchment Extents |  |  | CSO-07-01-02
|  |  |  | Ringsend Agglomeration Fingal Catchment Extents |  |  | CSO-07-01-04
|  |  |  | Malahide Agglomeration Catchment Extents |  |  | CSO-07-01-03
|  |  |  | Rush Agglomeration Catchment Extents |  |  | CSO-07-01-05
|  |  |  | Lusk-Agglomeration Catchment Extents |  |  | CSO-07-01-06
|  |  |  | Donabate Agglomeration Catchment Extents |  |  | CSO-07-01-07
Due to the brevity of the overflow, the dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal.
Due to the brevity of the overflow, the dilute nature of the discharge and the high assimilative capacity of the receiving environment the impact would have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.
Due to the brevity of the overflow, the dilute nature of the discharge and the high assimilative capacity of the receiving environment the impact would have been minimal. The assimilative capacity would also have been increased by the heavy infiltrarion in the foul sewer lines at this pumping station.
The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the thawing of heavy snowfall.
The dilute nature of the discharge and the very high assimilative capacity of the receiving environment the impact should have been minimal. The assimilative capacity would also have been increased by the heavy rainfall.

## Discharge Points (hidden)
Balbriggan__D0023_01 | Barnageeragh__D0023_01 | Killalane_Cottages__D0023_01 | Loughshinney__D0023_01 | Ballyboghil__A0108_01 | Colecot_Cottages__A0107_01 | Garristown__A0110_01 | Lusk__D0122_01 | Malahide__D0021_01 | Naul__A0103_01 | Newtown_Cottages__A0104_01 | Oldtown__A0106_01 | Portrane_Donabate__D0114_01 | Portrane_Donabate_Rush_Lusk__D0114_02 | Rush__D0119_01 | Swords__D0024_01 | Turvey_Cottages__A0102_01 | Ringsend__D0034_01
Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Barnageeragh WwTP P3/Skerries | Ballyboghil SWT Primary Discharge point (SW01) | Colecot Cottages WwTP Primary Discharge Point | Garristown WwTP Primary Discharge | Lusk septic tank outfall P5/Lusk | Malahide WWTP Primary Discharge (P2) | Naul STW (P12) | P14/Newtown | Oldtown WwTP (P11 / Oldtown) (SW1) | Portrane WwTP (P6) | Unlicenced | Rush four Sewer Outfall - P4 Rush | Swords WwTP - P1/Swords | Turvey Ave (GW1) | Doldrum Bay Howth - S4/ Howth
Isaac's Bower - SW2 | Isaac's Bower - SW2 | Isaac's Bower - SW2 | Isaac's Bower - SW2 | Ballyboghil SWT Secondary Discharge (SW02) - Emergency Overflow | Unlicensed | Garristown WwTP Emergency Overflow (SW67) | Lusk septic tank overflow - SW59 | St James Terrace S2 | Naul STW Emergency Overflow (SW68) | Unlicensed | Oldtown WwTP Emergency overflow (SW2) | Beaverstown Road, Donabate SW60 |  | South Shore Rush PS (SW57) | Toberburr WwTP - S1/Swords | Unlicensed | Howth Outfall - S5/Howth
Hampton Cove - SW3 | Hampton Cove - SW3 | Hampton Cove - SW3 | Hampton Cove - SW3 | Unlicenced |  | Unlicensed | Unlicensed | The Diamond (foul sewer overflow) S3 | Unlicensed |  | Unlicenced | Portrane No2 PS - SW61 |  | Rush Tower Bay | ?? |  | Santry P.S - SW21
Craoibhin Close - SW4 | Craoibhin Close - SW4 | Craoibhin Close - SW4 | Craoibhin Close - SW4 |  |  |  |  | Floraville SW30 |  |  |  | St Ita's PS - SW62 |  | Unlicensed | Swords WwTP - SW25 |  | Turnapin P.S - SW22
Balbriggan PS - SW5 | Balbriggan PS - SW5 | Balbriggan PS - SW5 | Balbriggan PS - SW5 |  |  |  |  | SW35 |  |  |  | ?? |  |  | Lissenhall Bridge PS - SW14 |  | Dubber Cross P.S - SW23
Hoars Rock - SW6 | Hoars Rock - SW6 | Hoars Rock - SW6 | Hoars Rock - SW6 |  |  |  |  | Unlicensed |  |  |  | Unlicensed |  |  | Drynam PS - SW15 |  | Baldoyle Village P.S - SW26
Harbour Road - SW7 | Harbour Road - SW7 | Harbour Road - SW7 | Harbour Road - SW7 |  |  |  |  | Unlicenced - Inbhir Ide P.S, Malahide | [6 empty] | Melrose Drive PS |  | Baldoyle Road P.S - SW27
Mourne View - SW8 | Mourne View - SW8 | Mourne View - SW8 | Mourne View - SW8 |  |  |  |  | Unlicenced - Connelly Avenue, Kinsealy | [6 empty] | Forest Road - SW17 |  | Strand Road, Portmarnock - SW32
Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 | Kelly's Bay PS - SW9 |  |  |  |  | Unlicenced - Killeen P.S | [6 empty] | Rathbeale Road PS - SW18 |  | Portmarnock Bridge PS - SW33
Darcystown - SW10 | Darcystown - SW10 | Darcystown - SW10 | Darcystown - SW10 |  |  |  |  | Unlicenced - Galtrim Grange PS | [6 empty] | Glasmore Park - SW19 |  | Carrick Court - SW34
Shenick Island - SW11 | Shenick Island - SW11 | Shenick Island - SW11 | Shenick Island - SW11 |  |  |  |  | Unlicenced -Kinsealy Storm | [6 empty] | Bridge Street - SW20 |  | Mayne Bridge P.S - SW35
Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 | Rush Road PS Skerries - SW12 |  |  |  |  | Unlicenced - Castlefield Manor | [6 empty] | Cooldriona Court - SW24 |  | Seagrange Park, Baldoyle - SW37
Quay Street - SW1 | Quay Street - SW1 | Quay Street - SW1 | Quay Street - SW1 | [11 empty] | Gartan court PS - SW13 |  | Sutton Park P.S - SW38
Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | Killalane Septic Tank - S11/Skerries | [11 empty] | Unlicensed |  | Alden Drive - SW39
Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | Loughshinney Septic Tank - S7 Skerries | [11 empty] | Lispopple - SW65 |  | Kilbarrack Road - SW40
Unlicensed | Unlicensed | Unlicensed | Unlicensed | [13 empty] | Strand Road P.S, Sutton - SW41
Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | Balcsaddan P.S. - SW63 | [13 empty] | Old Quay, Strand Road - SW42
Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | Dublin Road P.S. - SW64 | [13 empty] | Superquinn Sutton Cross - SW43
Craoibhin Park | Craoibhin Park | Craoibhin Park | Craoibhin Park | [13 empty] | Burrow Road P.S - SW44
Unlicensed | Unlicensed | Unlicensed | Unlicensed | [13 empty] | Claremont P.S - SW45
Techrete Compound, Howth - SW46
Howth Road El Paso - SW47
Howth Road / Abbey Street (A) - SW48
Church Street/Abbey Street (B) - SW49
Hollystown - SW50
James Connolly Hospital - SW51
Blanchardstown P.S - SW52
River Road P.S - SW53
Main Street, Blanchardstown - SW54
Castleknock Village - SW55
Castlethorn/ Riverwood Estate P.S - SW56